## 28
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.103.101 |  | BBB-SALA03-VAC-MKS | MKS | 1,2,3,4
10.128.103.102 |  | BBB-SALA03-VAC-4UHV-BO | 4UHV | 11,12
10.128.103.103 |  | BBB-SALA03-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.103.106 |  | BBB-SALA03-CON-MBTEMP-BO-06-10 | MBTemp | 1,2,3,4,5
10.128.103.117 |  | BBB-SALA03-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.103.118 |  | BBB-SALA03-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.103.104 |  | IA-03RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-03RaPS01:PS-DCLink-SI, IA-03RaPS02:PS-DCLink-SI
10.128.103.121 |  | IA-03RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-03M2:PS-QFP, SI-03M2:PS-QDP1, SI-03M2:PS-QDP2, SI-04M1:PS-QFB, SI-04M1:PS-QDB1, SI-04M1:PS-QDB2, SI-03M1:PS-QS, SI-03M2:PS-QS
10.128.103.122 |  | IA-03RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-03M1:PS-CH, SI-03M1:PS-CV, SI-03M2:PS-CH, SI-03M2:PS-CV, SI-03C2:PS-CH, SI-03C2:PS-CV-1, SI-03C2:PS-CV-2
10.128.103.131 |  | IA-03RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-03C1:PS-Q1, SI-03C1:PS-Q2, SI-03C2:PS-Q3, SI-03C2:PS-Q4, SI-03C4:PS-Q1, SI-03C4:PS-Q2, SI-03C3:PS-Q3, SI-03C3:PS-Q4, SI-03C1:PS-QS, SI-03C2:PS-QS, SI-03C3:PS-QS
10.128.103.132 |  | IA-03RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-03C1:PS-CH, SI-03C1:PS-CV, SI-03C4:PS-CH, SI-03C4:PS-CV, SI-03C3:PS-CH, SI-03C3:PS-CV-1, SI-03C3:PS-CV-2
10.0.28.140 |  | SPARE-SEP-1 | SPIxCONV |  | SPARE-SEP-1

## 102
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.102.101 |  | BBB-SALA02-VAC-MKS | MKS | 1,2,3,4
10.128.102.102 |  | BBB-SALA02-VAC-4UHV-BO | 4UHV | 11,12,13
10.128.102.103 |  | BBB-SALA02-VAC-4UHV-SI | 4UHV | 14,15,16
10.128.102.117 |  | BBB-SALA02-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.102.118 |  | BBB-SALA02-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.102.119 |  | BBB-SALA02-CON-MBTEMP-RF-PETRA7 | MBTemp | 1,2,3
10.128.102.104 |  | IA-02RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-02RaPS01:PS-DCLink-SI, IA-02RaPS01:PS-DCLink-AS
10.128.102.105 |  | IA-02RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-03U:PS-CH, BO-03U:PS-CV, BO-05U:PS-CH, BO-05U:PS-CV
10.128.102.121 |  | IA-02RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-02M2:PS-QFB, SI-02M2:PS-QDB1, SI-02M2:PS-QDB2, SI-03M1:PS-QFP, SI-03M1:PS-QDP1, SI-03M1:PS-QDP2, SI-02M1:PS-QS, SI-02M2:PS-QS
10.128.102.122 |  | IA-02RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-02M1:PS-CH, SI-02M1:PS-CV, SI-02M2:PS-CH, SI-02M2:PS-CV, SI-02C2:PS-CH, SI-02C2:PS-CV-1, SI-02C2:PS-CV-2
10.128.102.131 |  | IA-02RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-02C1:PS-Q1, SI-02C1:PS-Q2, SI-02C2:PS-Q3, SI-02C2:PS-Q4, SI-02C4:PS-Q1, SI-02C4:PS-Q2, SI-02C3:PS-Q3, SI-02C3:PS-Q4, SI-02C1:PS-QS, SI-02C2:PS-QS, SI-02C3:PS-QS
10.128.102.132 |  | IA-02RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-02C1:PS-CH, SI-02C1:PS-CV, SI-02C4:PS-CH, SI-02C4:PS-CV, SI-02C3:PS-CH, SI-02C3:PS-CV-1, SI-02C3:PS-CV-2
10.128.102.151 |  | COUNTINGPRU-SI-02-M2 | CountingPRU | 1
10.128.102.152 |  | COUNTINGPRU-SI-02-C2 | CountingPRU | 2
10.128.102.153 |  | COUNTINGPRU-SI-02-C3 | CountingPRU | 3
10.128.102.154 |  | COUNTINGPRU-SI-03-M1 | CountingPRU | 4

## 104
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.104.101 |  | BBB-SALA04-VAC-MKS | MKS | 1,2,3,4
10.128.104.102 |  | BBB-SALA04-VAC-4UHV-BO-SI | 4UHV | 11,12,13,14
10.128.104.117 |  | BBB-SALA04-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.104.118 |  | BBB-SALA04-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.104.104 |  | IA-04RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-04RaPS01:PS-DCLink-SI, IA-04RaPS02:PS-DCLink-SI
10.128.104.105 |  | IA-04RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-07U:PS-CH, BO-07U:PS-CV, BO-09U:PS-CH, BO-09U:PS-CV
10.128.104.121 |  | IA-04RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-04M2:PS-QFB, SI-04M2:PS-QDB1, SI-04M2:PS-QDB2, SI-05M1:PS-QFA, SI-05M1:PS-QDA, SI-04M1:PS-QS, SI-04M2:PS-QS
10.128.104.122 |  | IA-04RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-04M1:PS-CH, SI-04M1:PS-CV, SI-04M2:PS-CH, SI-04M2:PS-CV, SI-04C2:PS-CH, SI-04C2:PS-CV-1, SI-04C2:PS-CV-2
10.128.104.131 |  | IA-04RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-04C1:PS-Q1, SI-04C1:PS-Q2, SI-04C2:PS-Q3, SI-04C2:PS-Q4, SI-04C4:PS-Q1, SI-04C4:PS-Q2, SI-04C3:PS-Q3, SI-04C3:PS-Q4, SI-04C1:PS-QS, SI-04C2:PS-QS, SI-04C3:PS-QS
10.128.104.132 |  | IA-04RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-04C1:PS-CH, SI-04C1:PS-CV, SI-04C4:PS-CH, SI-04C4:PS-CV, SI-04C3:PS-CH, SI-04C3:PS-CV-1, SI-04C3:PS-CV-2

## 105
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.105.101 |  | BBB-SALA05-VAC-MKS | MKS | 1,2,3
10.128.105.102 |  | BBB-SALA05-VAC-4UHV-BO | 4UHV | 11,12
10.128.105.103 |  | BBB-SALA05-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.105.106 |  | BBB-SALA05-CON-MBTEMP-BO-11-15 | MBTemp | 1,2,3,4,5
10.128.105.117 |  | BBB-SALA05-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.105.118 |  | BBB-SALA05-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.105.104 |  | IA-05RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-05RaPS01:PS-DCLink-SI, IA-05RaPS02:PS-DCLink-SI
10.128.105.105 |  | IA-05RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-11U:PS-CH, BO-11U:PS-CV, BO-13U:PS-CH, BO-13U:PS-CV
10.128.105.121 |  | IA-05RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-05M2:PS-QFA, SI-05M2:PS-QDA, SI-06M1:PS-QFB, SI-06M1:PS-QDB1, SI-06M1:PS-QDB2, SI-05M1:PS-QS, SI-05M2:PS-QS
10.128.105.122 |  | IA-05RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-05M1:PS-CH, SI-05M1:PS-CV, SI-05M2:PS-CH, SI-05M2:PS-CV, SI-05C2:PS-CH, SI-05C2:PS-CV-1, SI-05C2:PS-CV-2
10.128.105.131 |  | IA-05RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-05C1:PS-Q1, SI-05C1:PS-Q2, SI-05C2:PS-Q3, SI-05C2:PS-Q4, SI-05C4:PS-Q1, SI-05C4:PS-Q2, SI-05C3:PS-Q3, SI-05C3:PS-Q4, SI-05C1:PS-QS, SI-05C2:PS-QS, SI-05C3:PS-QS
10.128.105.132 |  | IA-05RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-05C1:PS-CH, SI-05C1:PS-CV, SI-05C4:PS-CH, SI-05C4:PS-CV, SI-05C3:PS-CH, SI-05C3:PS-CV-1, SI-05C3:PS-CV-2

## 106
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.106.101 |  | BBB-SALA06-VAC-MKS | MKS | 1,2,3,4
10.128.106.102 |  | BBB-SALA06-VAC-4UHV-BO-SI | 4UHV | 11,12
10.128.106.103 |  | BBB-SALA06-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.106.117 |  | BBB-SALA06-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.106.118 |  | BBB-SALA06-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.106.104 |  | IA-06RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-06RaPS01:PS-DCLink-SI, IA-06RaPS02:PS-DCLink-SI
10.128.106.105 |  | IA-06RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-07U:PS-CH, BO-07U:PS-CV, BO-09U:PS-CH, BO-09U:PS-CV
10.128.106.121 |  | IA-06RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-06M2:PS-QFB, SI-06M2:PS-QDB1, SI-06M2:PS-QDB2, SI-05M1:PS-QFA, SI-05M1:PS-QDA, SI-06M1:PS-QS, SI-06M2:PS-QS
10.128.106.122 |  | IA-06RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-06M1:PS-CH, SI-06M1:PS-CV, SI-06M2:PS-CH, SI-06M2:PS-CV, SI-06C2:PS-CH, SI-06C2:PS-CV-1, SI-06C2:PS-CV-2
10.128.106.131 |  | IA-06RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-06C1:PS-Q1, SI-06C1:PS-Q2, SI-06C2:PS-Q3, SI-06C2:PS-Q4, SI-06C4:PS-Q1, SI-06C4:PS-Q2, SI-06C3:PS-Q3, SI-06C3:PS-Q4, SI-06C1:PS-QS, SI-06C2:PS-QS, SI-06C3:PS-QS
10.128.106.132 |  | IA-06RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-06C1:PS-CH, SI-06C1:PS-CV, SI-06C4:PS-CH, SI-06C4:PS-CV, SI-06C3:PS-CH, SI-06C3:PS-CV-1, SI-06C3:PS-CV-2

## 107
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.107.101 |  | BBB-SALA07-VAC-MKS | MKS | 1,2,3
10.128.107.102 |  | BBB-SALA07-VAC-4UHV-BO | 4UHV | 11,12
10.128.107.103 |  | BBB-SALA07-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.107.106 |  | BBB-SALA07-CON-MBTEMP-BO-16-20 | MBTemp | 1,2,3,4,5
10.128.107.117 |  | BBB-SALA07-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.107.118 |  | BBB-SALA07-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.107.104 |  | IA-07RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-07RaPS01:PS-DCLink-SI, IA-07RaPS02:PS-DCLink-SI
10.128.107.105 |  | IA-07RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-15U:PS-CH, BO-15U:PS-CV, BO-17U:PS-CH, BO-17U:PS-CV
10.128.107.121 |  | IA-07RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-07M2:PS-QFA, SI-07M2:PS-QDA, SI-06M1:PS-QFB, SI-06M1:PS-QDB1, SI-06M1:PS-QDB2, SI-07M1:PS-QS, SI-07M2:PS-QS
10.128.107.122 |  | IA-07RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-07M1:PS-CH, SI-07M1:PS-CV, SI-07M2:PS-CH, SI-07M2:PS-CV, SI-07C2:PS-CH, SI-07C2:PS-CV-1, SI-07C2:PS-CV-2
10.128.107.131 |  | IA-07RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-07C1:PS-Q1, SI-07C1:PS-Q2, SI-07C2:PS-Q3, SI-07C2:PS-Q4, SI-07C4:PS-Q1, SI-07C4:PS-Q2, SI-07C3:PS-Q3, SI-07C3:PS-Q4, SI-07C1:PS-QS, SI-07C2:PS-QS, SI-07C3:PS-QS
10.128.107.132 |  | IA-07RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-07C1:PS-CH, SI-07C1:PS-CV, SI-07C4:PS-CH, SI-07C4:PS-CV, SI-07C3:PS-CH, SI-07C3:PS-CV-1, SI-07C3:PS-CV-2

## 108
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.108.101 |  | BBB-SALA08-VAC-MKS | MKS | 1,2,3,4
10.128.108.102 |  | BBB-SALA08-VAC-4UHV-BO-SI | 4UHV | 11,12
10.128.108.103 |  | BBB-SALA08-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.108.117 |  | BBB-SALA08-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.108.118 |  | BBB-SALA08-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.108.104 |  | IA-08RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-08RaPS01:PS-DCLink-SI, IA-08RaPS02:PS-DCLink-SI
10.128.108.105 |  | IA-08RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-19U:PS-CH, BO-19U:PS-CV, BO-21U:PS-CH, BO-21U:PS-CV
10.128.108.121 |  | IA-08RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-08M2:PS-QFB, SI-08M2:PS-QDB1, SI-08M2:PS-QDB2, SI-05M1:PS-QFA, SI-05M1:PS-QDA, SI-08M1:PS-QS, SI-08M2:PS-QS
10.128.108.122 |  | IA-08RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-08M1:PS-CH, SI-08M1:PS-CV, SI-08M2:PS-CH, SI-08M2:PS-CV, SI-08C2:PS-CH, SI-08C2:PS-CV-1, SI-08C2:PS-CV-2
10.128.108.131 |  | IA-08RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-08C1:PS-Q1, SI-08C1:PS-Q2, SI-08C2:PS-Q3, SI-08C2:PS-Q4, SI-08C4:PS-Q1, SI-08C4:PS-Q2, SI-08C3:PS-Q3, SI-08C3:PS-Q4, SI-08C1:PS-QS, SI-08C2:PS-QS, SI-08C3:PS-QS
10.128.108.132 |  | IA-08RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-08C1:PS-CH, SI-08C1:PS-CV, SI-08C4:PS-CH, SI-08C4:PS-CV, SI-08C3:PS-CH, SI-08C3:PS-CV-1, SI-08C3:PS-CV-2

## 109
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.109.101 |  | BBB-SALA09-VAC-MKS | MKS | 1,2,3
10.128.109.102 |  | BBB-SALA09VAC-4UHV-BO-SI | 4UHV | 11,12
10.128.109.103 |  | BBB-SALA09-VAC-4UHV-SI | 4UHV | 13,14,15
10.128.109.106 |  | BBB-SALA09-CON-MBTEMP-BO-21-25 | MBTemp | 1,2,3,4,5
10.128.109.117 |  | BBB-SALA09-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.109.118 |  | BBB-SALA09-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.109.104 |  | IA-09RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-09RaPS01:PS-DCLink-SI, IA-09RaPS02:PS-DCLink-SI
10.128.109.121 |  | IA-09RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3, 4, 5, 6, 7 | SI-09M2:PS-QFA, SI-09M2:PS-QDA, SI-10M1:PS-QFB, SI-10M1:PS-QDB1, SI-10M1:PS-QDB2, SI-09M1:PS-QS, SI-09M2:PS-QS
10.128.109.122 |  | IA-09RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7 | SI-09M1:PS-CH, SI-09M1:PS-CV, SI-09M2:PS-CH, SI-09M2:PS-CV, SI-09C2:PS-CH, SI-09C2:PS-CV-1, SI-09C2:PS-CV-2
10.128.109.131 |  | IA-09RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11 | SI-09C1:PS-Q1, SI-09C1:PS-Q2, SI-09C2:PS-Q3, SI-09C2:PS-Q4, SI-09C4:PS-Q1, SI-09C4:PS-Q2, SI-09C3:PS-Q3, SI-09C3:PS-Q4, SI-09C1:PS-QS, SI-09C2:PS-QS, SI-09C3:PS-QS
10.128.109.132 |  | IA-09RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1, 2, 3, 4, 5, 6, 7 | SI-09C1:PS-CH, SI-09C1:PS-CV, SI-09C4:PS-CH, SI-09C4:PS-CV, SI-09C3:PS-CH, SI-09C3:PS-CV-1, SI-09C3:PS-CV-2

## 110
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.110.101 |  | BBB-SALA10-VAC-MKS | MKS | 1,2,3,4
10.128.110.102 |  | BBB-SALA10-VAC-4UHV | 4UHV | 11,12, 13, 14
10.128.110.117 |  | BBB-SALA10-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.110.118 |  | BBB-SALA10-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.110.104 |  | IA-10RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-10RaPS01:PS-DCLink-AS, IA-10RaPS02:PS-DCLink-SI
10.128.110.105 |  | IA-10RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-23U:PS-CH, BO-23U:PS-CV, BO-25U:PS-CH, BO-25U:PS-CV
10.128.110.121 |  | IA-10RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-10M2:PS-QFB, SI-10M2:PS-QDB1, SI-10M2:PS-QDB2, SI-11M1:PS-QFP, SI-11M1:PS-QDP1, SI-11M1:PS-QDP2, SI-10M1:PS-QS, SI-10M2:PS-QS
10.128.110.122 |  | IA-10RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-10M1:PS-CH, SI-10M1:PS-CV, SI-10M2:PS-CH, SI-10M2:PS-CV, SI-10C2:PS-CH, SI-10C2:PS-CV-1, SI-10C2:PS-CV-2
10.128.110.131 |  | IA-10RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-10C1:PS-Q1, SI-10C1:PS-Q2, SI-10C2:PS-Q3, SI-10C2:PS-Q4, SI-10C4:PS-Q1, SI-10C4:PS-Q2, SI-10C3:PS-Q3, SI-10C3:PS-Q4, SI-10C1:PS-QS, SI-10C2:PS-QS, SI-10C3:PS-QS
10.128.110.132 |  | IA-10RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-10C1:PS-CH, SI-10C1:PS-CV, SI-10C4:PS-CH, SI-10C4:PS-CV, SI-10C3:PS-CH, SI-10C3:PS-CV-1, SI-10C3:PS-CV-2

## 111
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.111.101 |  | BBB-SALA11-VAC-MKS | MKS | 1,2,3
10.128.111.102 |  | BBB-SALA11VAC-4UHV-BO | 4UHV | 11,12
10.128.111.103 |  | BBB-SALA11VAC-4UHV-SI | 4UHV | 13,14,15
10.128.111.104 |  | IA-11RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-11RaPS01:PS-DCLink-AS, IA-11RaPS02:PS-DCLink-SI
10.128.111.105 |  | IA-11RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-27U:PS-CH, BO-27U:PS-CV, BO-29U:PS-CH, BO-29U:PS-CV
10.128.111.106 |  | BBB-SALA11-CON-MBTEMP-BO-26-30 | MBTemp | 1,2,3,4,5
10.128.111.117 |  | BBB-SALA11-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.111.118 |  | BBB-SALA11-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.111.121 |  | IA-11RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-11M2:PS-QFP, SI-11M2:PS-QDP1, SI-11M2:PS-QDP2, SI-12M1:PS-QFB, SI-12M1:PS-QDB1, SI-12M1:PS-QDB2, SI-11M1:PS-QS, SI-11M2:PS-QS
10.128.111.122 |  | IA-11RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-11M1:PS-CH, SI-11M1:PS-CV, SI-11M2:PS-CH, SI-11M2:PS-CV, SI-11C2:PS-CH, SI-11C2:PS-CV-1, SI-11C2:PS-CV-2
10.128.111.131 |  | IA-11RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-11C1:PS-Q1, SI-11C1:PS-Q2, SI-11C2:PS-Q3, SI-11C2:PS-Q4, SI-11C4:PS-Q1, SI-11C4:PS-Q2, SI-11C3:PS-Q3, SI-11C3:PS-Q4, SI-11C1:PS-QS, SI-11C2:PS-QS, SI-11C3:PS-QS
10.128.111.132 |  | IA-11RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-11C1:PS-CH, SI-11C1:PS-CV, SI-11C4:PS-CH, SI-11C4:PS-CV, SI-11C3:PS-CH, SI-11C3:PS-CV-1, SI-11C3:PS-CV-2

## 112
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.112.101 |  | BBB-SALA12-VAC-MKS | MKS | 1,2,3,4
10.128.112.102 |  | BBB-SALA12-VAC-4UHV-BO-SI | 4UHV | 11,12, 13, 14
10.128.112.117 |  | BBB-SALA12-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.112.118 |  | BBB-SALA12-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.112.104 |  | IA-12RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-12RaPS01:PS-DCLink-SI, IA-12RaPS02:PS-DCLink-SI
10.128.112.121 |  | IA-12RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-12M2:PS-QFB, SI-12M2:PS-QDB1, SI-12M2:PS-QDB2, SI-13M1:PS-QFA, SI-13M1:PS-QDA, SI-12M1:PS-QS, SI-12M2:PS-QS
10.128.112.122 |  | IA-12RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-12M1:PS-CH, SI-12M1:PS-CV, SI-12M2:PS-CH, SI-12M2:PS-CV, SI-12C2:PS-CH, SI-12C2:PS-CV-1, SI-12C2:PS-CV-2
10.128.112.131 |  | IA-12RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-12C1:PS-Q1, SI-12C1:PS-Q2, SI-12C2:PS-Q3, SI-12C2:PS-Q4, SI-12C4:PS-Q1, SI-12C4:PS-Q2, SI-12C3:PS-Q3, SI-12C3:PS-Q4, SI-12C1:PS-QS, SI-12C2:PS-QS, SI-12C3:PS-QS
10.128.112.132 |  | IA-12RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-12C1:PS-CH, SI-12C1:PS-CV, SI-12C4:PS-CH, SI-12C4:PS-CV, SI-12C3:PS-CH, SI-12C3:PS-CV-1, SI-12C3:PS-CV-2

## 113
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.113.101 |  | BBB-SALA11-VAC-MKS | MKS | 1,2,3
10.128.113.102 |  | BBB-SALA11VAC-4UHV-BO | 4UHV | 11,12
10.128.113.103 |  | BBB-SALA11VAC-4UHV-SI | 4UHV | 13,14,15
10.128.113.104 |  | IA-11RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-13RaPS01:PS-DCLink-AS, IA-13RaPS02:PS-DCLink-SI
10.128.113.105 |  | IA-11RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-31U:PS-CH, BO-31U:PS-CV, BO-33U:PS-CH, BO-33U:PS-CV
10.128.113.106 |  | BBB-SALA11-CON-MBTEMP-BO-31-35 | MBTemp | 1,2,3,4,5
10.128.113.117 |  | BBB-SALA11-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.113.118 |  | BBB-SALA11-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.113.121 |  | IA-11RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-13M2:PS-QFA, SI-13M2:PS-QDA, SI-14M1:PS-QFB, SI-14M1:PS-QDB1, SI-14M1:PS-QDB2, SI-13M1:PS-QS, SI-13M2:PS-QS
10.128.113.122 |  | IA-11RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-13M1:PS-CH, SI-13M1:PS-CV, SI-13M2:PS-CH, SI-13M2:PS-CV, SI-13C2:PS-CH, SI-13C2:PS-CV-1, SI-13C2:PS-CV-2
10.128.113.131 |  | IA-11RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-13C1:PS-Q1, SI-13C1:PS-Q2, SI-13C2:PS-Q3, SI-13C2:PS-Q4, SI-13C4:PS-Q1, SI-13C4:PS-Q2, SI-13C3:PS-Q3, SI-13C3:PS-Q4, SI-13C1:PS-QS, SI-13C2:PS-QS, SI-13C3:PS-QS
10.128.113.132 |  | IA-11RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-13C1:PS-CH, SI-13C1:PS-CV, SI-13C4:PS-CH, SI-13C4:PS-CV, SI-13C3:PS-CH, SI-13C3:PS-CV-1, SI-13C3:PS-CV-2

## 114
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.114.101 |  | BBB-SALA14-VAC-MKS | MKS | 1,2,3,4
10.128.114.102 |  | BBB-SALA14-VAC-4UHV-BO-SI | 4UHV | 11,12, 13, 14
10.128.114.117 |  | BBB-SALA14-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.114.118 |  | BBB-SALA14-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.114.104 |  | IA-14RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-14RaPS01:PS-DCLink-AS, IA-14RaPS02:PS-DCLink-SI
10.128.114.105 |  | IA-14RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-35U:PS-CH, BO-35U:PS-CV, BO-37U:PS-CH, BO-37U:PS-CV
10.128.114.121 |  | IA-14RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-14M2:PS-QFB, SI-14M2:PS-QDB1, SI-14M2:PS-QDB2, SI-15M1:PS-QFP, SI-15M1:PS-QDP1, SI-15M1:PS-QDP2, SI-14M1:PS-QS, SI-14M2:PS-QS
10.128.114.122 |  | IA-14RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-14M1:PS-CH, SI-14M1:PS-CV, SI-14M2:PS-CH, SI-14M2:PS-CV, SI-14C2:PS-CH, SI-14C2:PS-CV-1, SI-14C2:PS-CV-2
10.128.114.131 |  | IA-14RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-14C1:PS-Q1, SI-14C1:PS-Q2, SI-14C2:PS-Q3, SI-14C2:PS-Q4, SI-14C4:PS-Q1, SI-14C4:PS-Q2, SI-14C3:PS-Q3, SI-14C3:PS-Q4, SI-14C1:PS-QS, SI-14C2:PS-QS, SI-14C3:PS-QS
10.128.114.132 |  | IA-14RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-14C1:PS-CH, SI-14C1:PS-CV, SI-14C4:PS-CH, SI-14C4:PS-CV, SI-14C3:PS-CH, SI-14C3:PS-CV-1, SI-14C3:PS-CV-2

## 115
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.115.101 |  | BBB-SALA11-VAC-MKS | MKS | 1,2,3
10.128.115.102 |  | BBB-SALA11VAC-4UHV-BO | 4UHV | 11,12
10.128.115.103 |  | BBB-SALA11VAC-4UHV-SI | 4UHV | 13,14,15
10.128.115.104 |  | IA-11RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-15RaPS01:PS-DCLink-SI, IA-15RaPS02:PS-DCLink-SI
10.128.115.106 |  | BBB-SALA11-CON-MBTEMP-BO-36-40 | MBTemp | 1,2,3,4,5
10.128.115.117 |  | BBB-SALA11-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.115.118 |  | BBB-SALA11-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.115.121 |  | IA-11RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-15M2:PS-QFP, SI-15M2:PS-QDP1, SI-15M2:PS-QDP2, SI-16M1:PS-QFB, SI-16M1:PS-QDB1, SI-16M1:PS-QDB2, SI-15M1:PS-QS, SI-15M2:PS-QS
10.128.115.122 |  | IA-11RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-15M1:PS-CH, SI-15M1:PS-CV, SI-15M2:PS-CH, SI-15M2:PS-CV, SI-15C2:PS-CH, SI-15C2:PS-CV-1, SI-15C2:PS-CV-2
10.128.115.131 |  | IA-11RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-15C1:PS-Q1, SI-15C1:PS-Q2, SI-15C2:PS-Q3, SI-15C2:PS-Q4, SI-15C4:PS-Q1, SI-15C4:PS-Q2, SI-15C3:PS-Q3, SI-15C3:PS-Q4, SI-15C1:PS-QS, SI-15C2:PS-QS, SI-15C3:PS-QS
10.128.115.132 |  | IA-11RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-15C1:PS-CH, SI-15C1:PS-CV, SI-15C4:PS-CH, SI-15C4:PS-CV, SI-15C3:PS-CH, SI-15C3:PS-CV-1, SI-15C3:PS-CV-2

## 116
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.116.101 |  | BBB-SALA16-VAC-MKS | MKS | 1,2,3,4
10.128.116.102 |  | BBB-SALA16-VAC-4UHV-BO-SI | 4UHV | 11,12, 13, 14
10.128.116.104 |  | IA-16RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-16RaPS01:PS-DCLink-AS, IA-16RaPS02:PS-DCLink-SI
10.128.116.105 |  | IA-16RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-39U:PS-CH, BO-39U:PS-CV, BO-41U:PS-CH, BO-41U:PS-CV
10.128.116.117 |  | BBB-SALA16-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.116.118 |  | BBB-SALA16-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.116.121 |  | IA-16RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-16M2:PS-QFB, SI-16M2:PS-QDB1, SI-16M2:PS-QDB2, SI-17M1:PS-QFA, SI-17M1:PS-QDA, SI-16M1:PS-QS, SI-16M2:PS-QS
10.128.116.122 |  | IA-16RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-16M1:PS-CH, SI-16M1:PS-CV, SI-16M2:PS-CH, SI-16M2:PS-CV, SI-16C2:PS-CH, SI-16C2:PS-CV-1, SI-16C2:PS-CV-2
10.128.116.131 |  | IA-16RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-16C1:PS-Q1, SI-16C1:PS-Q2, SI-16C2:PS-Q3, SI-16C2:PS-Q4, SI-16C4:PS-Q1, SI-16C4:PS-Q2, SI-16C3:PS-Q3, SI-16C3:PS-Q4, SI-16C1:PS-QS, SI-16C2:PS-QS, SI-16C3:PS-QS
10.128.116.132 |  | IA-16RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-16C1:PS-CH, SI-16C1:PS-CV, SI-16C4:PS-CH, SI-16C4:PS-CV, SI-16C3:PS-CH, SI-16C3:PS-CV-1, SI-16C3:PS-CV-2

## 117
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.117.101 |  | BBB-SALA17-VAC-MKS | MKS | 1,2,3
10.128.117.102 |  | BBB-SALA17VAC-4UHV-BO | 4UHV | 11,12
10.128.117.103 |  | BBB-SALA17VAC-4UHV-SI | 4UHV | 13,14,15
10.128.117.104 |  | IA-17RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-17RaPS01:PS-DCLink-AS, IA-17RaPS02:PS-DCLink-SI
10.128.117.105 |  | IA-17RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-43U:PS-CH, BO-43U:PS-CV, BO-45U:PS-CH, BO-45U:PS-CV
10.128.117.106 |  | BBB-SALA17-CON-MBTEMP-BO-41-45 | MBTemp | 1,2,3,4,5
10.128.117.117 |  | BBB-SALA17-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.117.118 |  | BBB-SALA17-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.117.121 |  | IA-17RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-17M2:PS-QFA, SI-17M2:PS-QDA, SI-18M1:PS-QFB, SI-18M1:PS-QDB1, SI-18M1:PS-QDB2, SI-17M1:PS-QS, SI-17M2:PS-QS
10.128.117.122 |  | IA-17RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-17M1:PS-CH, SI-17M1:PS-CV, SI-17M2:PS-CH, SI-17M2:PS-CV, SI-17C2:PS-CH, SI-17C2:PS-CV-1, SI-17C2:PS-CV-2
10.128.117.131 |  | IA-17RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-17C1:PS-Q1, SI-17C1:PS-Q2, SI-17C2:PS-Q3, SI-17C2:PS-Q4, SI-17C4:PS-Q1, SI-17C4:PS-Q2, SI-17C3:PS-Q3, SI-17C3:PS-Q4, SI-17C1:PS-QS, SI-17C2:PS-QS, SI-17C3:PS-QS
10.128.117.132 |  | IA-17RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-17C1:PS-CH, SI-17C1:PS-CV, SI-17C4:PS-CH, SI-17C4:PS-CV, SI-17C3:PS-CH, SI-17C3:PS-CV-1, SI-17C3:PS-CV-2

## 118
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.118.101 |  | BBB-SALA18-VAC-MKS | MKS | 1,2,3,4
10.128.118.102 |  | BBB-SALA18-VAC-4UHV-BO-SI | 4UHV | 11,12, 13, 14
10.128.118.104 |  | IA-18RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-18RaPS01:PS-DCLink-SI, IA-18RaPS02:PS-DCLink-SI
10.128.118.117 |  | BBB-SALA18-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.118.118 |  | BBB-SALA18-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.118.121 |  | IA-18RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-18M2:PS-QFB, SI-18M2:PS-QDB1, SI-18M2:PS-QDB2, SI-19M1:PS-QFP, SI-19M1:PS-QDP1, SI-19M1:PS-QDP2, SI-18M1:PS-QS, SI-18M2:PS-QS
10.128.118.122 |  | IA-18RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-18M1:PS-CH, SI-18M1:PS-CV, SI-18M2:PS-CH, SI-18M2:PS-CV, SI-18C2:PS-CH, SI-18C2:PS-CV-1, SI-18C2:PS-CV-2
10.128.118.131 |  | IA-18RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-18C1:PS-Q1, SI-18C1:PS-Q2, SI-18C2:PS-Q3, SI-18C2:PS-Q4, SI-18C4:PS-Q1, SI-18C4:PS-Q2, SI-18C3:PS-Q3, SI-18C3:PS-Q4, SI-18C1:PS-QS, SI-18C2:PS-QS, SI-18C3:PS-QS
10.128.118.132 |  | IA-18RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-18C1:PS-CH, SI-18C1:PS-CV, SI-18C4:PS-CH, SI-18C4:PS-CV, SI-18C3:PS-CH, SI-18C3:PS-CV-1, SI-18C3:PS-CV-2

## 119
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.119.101 |  | BBB-SALA19-VAC-MKS | MKS | 1,2,3,4,5,6
10.128.119.102 |  | BBB-SALA19VAC-4UHV-BO | 4UHV | 11,12
10.128.119.103 |  | BBB-SALA19VAC-4UHV-SI | 4UHV | 13,14,15
10.128.119.104 |  | IA-19RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-19RaPS01:PS-DCLink-SI, IA-19RaPS02:PS-DCLink-SI
10.128.119.106 |  | BBB-SALA19-CON-MBTEMP-BO-46-50 | MBTemp | 1,2,3,4,5
10.128.119.117 |  | BBB-SALA19-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.119.118 |  | BBB-SALA19-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.119.121 |  | IA-19RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7,8 | SI-19M2:PS-QFP, SI-19M2:PS-QDP1, SI-19M2:PS-QDP2, SI-20M1:PS-QFB, SI-20M1:PS-QDB1, SI-20M1:PS-QDB2, SI-19M1:PS-QS, SI-19M2:PS-QS
10.128.119.122 |  | IA-19RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-19M1:PS-CH, SI-19M1:PS-CV, SI-19M2:PS-CH, SI-19M2:PS-CV, SI-19C2:PS-CH, SI-19C2:PS-CV-1, SI-19C2:PS-CV-2
10.128.119.131 |  | IA-19RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-19C1:PS-Q1, SI-19C1:PS-Q2, SI-19C2:PS-Q3, SI-19C2:PS-Q4, SI-19C4:PS-Q1, SI-19C4:PS-Q2, SI-19C3:PS-Q3, SI-19C3:PS-Q4, SI-19C1:PS-QS, SI-19C2:PS-QS, SI-19C3:PS-QS
10.128.119.132 |  | IA-19RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-19C1:PS-CH, SI-19C1:PS-CV, SI-19C4:PS-CH, SI-19C4:PS-CV, SI-19C3:PS-CH, SI-19C3:PS-CV-1, SI-19C3:PS-CV-2

## 120
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.120.101 |  | BBB-SALA20-VAC-MKS-TB-BO-SI | MKS | 1,2,3,4
10.128.120.102 |  | BBB-SALA20-VAC-4UHV-TB-BO | 4UHV | 11,12,13
10.128.120.103 |  | BBB-SALA20-VAC-4UHV-BO-SI | 4UHV | 14,15,16
10.128.120.104 |  | IA-20RaCtrl:CO-DCLinkCtrl | PowerSupply | 1,2 | IA-20RaPS01:PS-DCLink-AS, IA-20RaPS02:PS-DCLink-SI
10.128.120.105 |  | IA-17RaCtrl:CO-PSCtrl-BO | PowerSupply | 1,2,3,4 | BO-47U:PS-CH, BO-47U:PS-CV, BO-49D:PS-CH, BO-49U:PS-CV
10.128.120.106 |  | BBB-SALA20-CON-MBTEMP-TS | MBTemp | 1,2,3,4
10.128.120.116 |  | BBB-SALA20-VAC-4UHV-TS | 4UHV | 17,18,19
10.128.120.117 |  | BBB-SALA20-CON-MBTEMP-SR-BEFORE-BC | MBTemp | 11,12,13
10.128.120.118 |  | BBB-SALA20-CON-MBTEMP-SR-AFTER-BC | MBTemp | 21,22,23
10.128.120.121 |  | IA-20RaCtrl:CO-PSCtrl-SI1 | PowerSupply | 1,2,3,4,5,6,7 | SI-20M2:PS-QFB, SI-20M2:PS-QDB1, SI-20M2:PS-QDB2, SI-01M1:PS-QFA, SI-01M1:PS-QDA, SI-20M1:PS-QS, SI-20M2:PS-QS
10.128.120.122 |  | IA-20RaCtrl:CO-PSCtrl-SI2 | PowerSupply | 1,2,3,4,5,6,7 | SI-20M1:PS-CH, SI-20M1:PS-CV, SI-20M2:PS-CH, SI-20M2:PS-CV, SI-20C2:PS-CH, SI-20C2:PS-CV-1, SI-20C2:PS-CV-2
10.128.120.131 |  | IA-20RaCtrl:CO-PSCtrl-SI3 | PowerSupply | 1,2,3,4,5,6,7,8,9,10,11 | SI-20C1:PS-Q1, SI-20C1:PS-Q2, SI-20C2:PS-Q3, SI-20C2:PS-Q4, SI-20C4:PS-Q1, SI-20C4:PS-Q2, SI-20C3:PS-Q3, SI-20C3:PS-Q4, SI-20C1:PS-QS, SI-20C2:PS-QS, SI-20C3:PS-QS
10.128.120.132 |  | IA-20RaCtrl:CO-PSCtrl-SI4 | PowerSupply | 1,2,3,4,5,6,7 | SI-20C1:PS-CH, SI-20C1:PS-CV, SI-20C4:PS-CH, SI-20C4:PS-CV, SI-20C3:PS-CH, SI-20C3:PS-CV-1, SI-20C3:PS-CV-2
10.0.28.140 |  | Spare_Sep-1 | SpixConv

## 121
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.121.101 |  | LA-RaPS02-CO-PSCtrl-TB | PowerSupply | 1 | TB-Fam:PS-B
10.128.121.102 |  | LA-RaCtrl-CO-DCLinkCtrl | PowerSupply | 1,2 | LA-RaPS06:PS-DCLink-AS1, LA-RaPS06:PS-DCLink-AS2
10.128.121.103 |  | LA-RaCtrl-CO-PSCtrl-TB1 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12 | TB-01:PS-QD1, TB-01:PS-QF1, TS-01:PS-CV-1E2, TS-02:PS-CV-0, TB-02:PS-QD2A, TB-02:PS-QF2A, TB-02:PS-QD2B, TB-02:PS-QF2B, TB-03:PS-QD3, TB-03:PS-QF3, TB-04:PS-QD4, TB-04:PS-QF4
10.128.121.104 |  | LA-RaCtrl-CO-PSCtrl-TB2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12 | TB-01:PS-CH-1, TB-01:PS-CV-1, TB-01:PS-CH-2, TB-01:PS-CV-2, TB-02:PS-CH-1, TB-02:PS-CV-1, TB-02:PS-CH-2, TB-02:PS-CV-2, TB-04:PS-CH-1, TB-04:PS-CV-1, TB-04:PS-CH-2, TB-04:PS-CV-2
10.128.121.105 |  | LA-RaCtrl-CO-PSCtrl-TS | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12 | TS-01:PS-CH, TS-01:PS-CV-1, TS-01:PS-CV-2, TS-04:PS-CV-0, TS-02:PS-CH, TS-02:PS-CV, TS-03:PS-CH, TS-03:PS-CV, TS-04:PS-CH, TS-04:PS-CV-1, TS-04:PS-CV-2, TS-04:PS-CV-1E2
10.128.121.106 |  | LA-RaPS02-CO-PSCtrl-TS1 | PowerSupply | 1 | TS-Fam:PS-B
10.128.121.107 |  | LA-RaPS02-CO-PSCtrl-TS2 | PowerSupply | 1, 2, 3, 4 | TS-01:PS-QF1B, TS-01:PS-QF1A, TS-02:PS-QD2, TS-02:PS-QF2
10.128.121.108 |  | LA-RaPS04-CO-PSCtrl-TS | PowerSupply | 1, 2, 3, 4 | TS-04:PS-QD4B, TS-04:PS-QD4A, TS-04:PS-QF4, TS-03:PS-QF3

## 122
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.122.101 |  | CA-CON-MBTEMP-TB-E-UPS | MBTemp | 1
10.128.122.102 |  | BBB-LA01-CON-MBTEMP-RACKS | MBTemp | 1, 2, 3

## 123
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.123.101 | 10.128.131.101 | PA-RaPSC03:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3 | BO-Fam:PS-QFDC/DC, BO-Fam:PS-QFAC/DC
10.128.123.102 | 10.128.131.102 | PA-RaPSC03:CO-PSCtrl-BO2 | PowerSupply | 1 | BO-Fam:PS-SF
10.128.123.103 | 10.128.131.103 | PA-RaPSC03:CO-PSCtrl-BO3 | PowerSupply | 1 | BO-Fam:PS-SD
10.128.123.104 | 10.128.131.104 | PA-RaPSC03:CO-PSCtrl-BO4 | PowerSupply | 1 | BO-Fam:PS-QD
10.128.123.105 | 10.128.131.105 | PA-RaPSE05:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3, 4 | BO-Fam:PS-B-1DC/DC
10.128.123.106 | 10.128.131.106 | PA-RaPSF05:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3, 4 | BO-Fam:PS-B-2DC/DC
10.128.123.107 | 10.128.132.107 | PA-RaPSD04:CO-PSCtrl-SI | PowerSupply | 1, 2 | SI-Fam:PS-B1B2-1, SI-Fam:PS-B1B2-2
10.128.123.108 | 10.128.133.108 | PA-RaPSA02:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-QFB, SI-Fam:PS-QFP, SI-Fam:PS-QFA
10.128.123.109 | 10.128.133.109 | PA-RaPSA02:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3 | SI-Fam:PS-QDP2, SI-Fam:PS-QDP1, SI-Fam:PS-QDA
10.128.123.110 | 10.128.134.110 | PA-RaPSA05:CO-PSCtrl-SI1 | PowerSupply | 1, 2 | SI-Fam:PS-QDB2, SI-Fam:PS-QDB1
10.128.123.111 | 10.128.134.111 | PA-RaPSA05:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-Q4, SI-Fam:PS-Q3, SI-Fam:PS-Q2, SI-Fam:PS-Q1
10.128.123.112 | 10.128.135.112 | PA-RaPSB02:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB1, SI-Fam:PS-SFB0, SI-Fam:PS-SDB0
10.128.123.113 | 10.128.135.113 | PA-RaPSB02:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFP0, SI-Fam:PS-SFA0, SI-Fam:PS-SDP0, SI-Fam:PS-SDA0
10.128.123.114 | 10.128.136.114 | PA-RaPSB06-:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB2, SI-Fam:PS-SDA2, SI-Fam:PS-SDA1
10.128.123.115 | 10.128.136.115 | PA-RaPSB06:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFA1, SI-Fam:PS-SDA3, SI-Fam:PS-SDP1, SI-Fam:PS-SFA2
10.128.123.116 | 10.128.137.116 | PA-RaPSB09:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB3, SI-Fam:PS-SFB1, SI-Fam:PS-SFB2
10.128.123.117 | 10.128.137.117 | PA-RaPSB09:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFP2, SI-Fam:PS-SFP1, SI-Fam:PS-SDP3, SI-Fam:PS-SDP2
10.128.123.118 | 10.128.131.118 | PA-RaPSE05:CO-PSCtrl-BO2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8 | BO-Fam:PS-B-1AC/DCMod1/2, BO-Fam:PS-B-1AC/DCMod3/4, BO-Fam:PS-B-1AC/DCMod5/6, BO-Fam:PS-B-1AC/DCMod7/8
10.128.123.119 | 10.128.131.119 | PA-RaPSF05:CO-PSCtrl-BO2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8 | BO-Fam:PS-B-2AC/DCMod1/2, BO-Fam:PS-B-2AC/DCMod3/4, BO-Fam:PS-B-2AC/DCMod5/6, BO-Fam:PS-B-2AC/DCMod7/8
10.128.123.131 | 10.128.131.131 | BBB-PA-CON-MBTEMP-01 | MBTemp | 1
10.128.123.132 | 10.128.131.132 | BBB-PA-CON-MBTEMP-02 | MBTemp | 2

## 124
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME

## 131
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.131.101 |  | PA-RaPSC03:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3 | BO-Fam:PS-QFDC/DC, BO-Fam:PS-QFAC/DC
10.128.131.102 |  | PA-RaPSC03:CO-PSCtrl-BO2 | PowerSupply | 1 | BO-Fam:PS-SF
10.128.131.103 |  | PA-RaPSC03:CO-PSCtrl-BO3 | PowerSupply | 1 | BO-Fam:PS-SD
10.128.131.104 |  | PA-RaPSC03:CO-PSCtrl-BO4 | PowerSupply | 1 | BO-Fam:PS-QD
10.128.131.105 |  | PA-RaPSE05:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3, 4 | BO-Fam:PS-B-1DC/DC
10.128.131.106 |  | PA-RaPSF05:CO-PSCtrl-BO1 | PowerSupply | 1, 2, 3, 4 | BO-Fam:PS-B-2DC/DC
10.128.131.118 |  | PA-RaPSE05:CO-PSCtrl-BO2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8 | BO-Fam:PS-B-1AC/DCMod1/2, BO-Fam:PS-B-1AC/DCMod3/4, BO-Fam:PS-B-1AC/DCMod5/6, BO-Fam:PS-B-1AC/DCMod7/8
10.128.131.119 |  | PA-RaPSF05:CO-PSCtrl-BO2 | PowerSupply | 1, 2, 3, 4, 5, 6, 7, 8 | BO-Fam:PS-B-2AC/DCMod1/2, BO-Fam:PS-B-2AC/DCMod3/4, BO-Fam:PS-B-2AC/DCMod5/6, BO-Fam:PS-B-2AC/DCMod7/8
10.128.131.131 |  | BBB-PA-CON-MBTEMP-01 | MBTemp | 1,2

## 132
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.132.107 |  | PA-RaPSD04:CO-PSCtrl-SI | PowerSupply | 1, 2 | SI-Fam:PS-B1B2-1, SI-Fam:PS-B1B2-2

## 133
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.133.108 |  | PA-RaPSA02:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-QFB, SI-Fam:PS-QFP, SI-Fam:PS-QFA
10.128.133.109 |  | PA-RaPSA02:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3 | SI-Fam:PS-QDP2, SI-Fam:PS-QDP1, SI-Fam:PS-QDA
10.128.133.132 |  | BBB-PA-CON-MBTEMP-02 | MBTemp | 1

## 134
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.134.110 |  | PA-RaPSA05-CO-PSCtrl-SI1 | PowerSupply | 1, 2 | SI-Fam:PS-QDB2, SI-Fam:PS-QDB1
10.128.134.111 |  | PA-RaPSA05-CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-Q4, SI-Fam:PS-Q3, SI-Fam:PS-Q2, SI-Fam:PS-Q1

## 135
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.135.112 |  | PA-RaPSB02:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB1, SI-Fam:PS-SFB0, SI-Fam:PS-SDB0
10.128.135.113 |  | PA-RaPSB02:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFP0, SI-Fam:PS-SFA0, SI-Fam:PS-SDP0, SI-Fam:PS-SDA0

## 136
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.136.114 |  | PA-RaPSB06:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB2, SI-Fam:PS-SDA2, SI-Fam:PS-SDA1
10.128.136.115 |  | PA-RaPSB06:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFA1, SI-Fam:PS-SDA3, SI-Fam:PS-SDP1, SI-Fam:PS-SFA2

## 137
BBB_IP_1 | BBB_IP_2 | BBB_HOSTNAME | DEVICE_TYPE | DEVICE_ID | DEVICE_NAME
10.128.137.116 | 10.128.137.116 | PA-RaPSB09:CO-PSCtrl-SI1 | PowerSupply | 1, 2, 3 | SI-Fam:PS-SDB3, SI-Fam:PS-SFB1, SI-Fam:PS-SFB2
10.128.137.117 | 10.128.137.117 | PA-RaPSB09:CO-PSCtrl-SI2 | PowerSupply | 1, 2, 3, 4 | SI-Fam:PS-SFP2, SI-Fam:PS-SFP1, SI-Fam:PS-SDP3, SI-Fam:PS-SDP2